## Slide 1: Joint Center Definition
How does V3D define the joint center based on the user defined proximal and distal targets?

## Slide 2: Joint Center Definition: Marker Set
LLA
LLK
LMA
LMK
LKJC
Distal Radius = X
[ ½ Distance (LMA,LLA) ]
Proximal Radius = D
[ ½ Distance (LMK,LLK) ]
LSK

## Slide 3: Joint Center Definition
LSK
LLA
LLK
LMA
LMK
LKJC
Method 1:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 2:
Proximal End: 1 Lateral & 1 medial target
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 3:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target
Method 4:
Proximal End: 1 Lateral target & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target

## Slide 4: Joint Center Definition
LSK
LLA
LLK
LMA
LMK
LKJC
Method 1:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 2:
Proximal End: 1 Lateral & 1 medial target
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 3:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target
Method 4:
Proximal End: 1 Lateral target & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target

## Slide 5: Joint Center Definition
LSK
LLA
LLK
LMA
LMK
LKJC
Method 1:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 2:
Proximal End: 1 Lateral & 1 medial target
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 3:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target
Method 4:
Proximal End: 1 Lateral target & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target

## Slide 6: Joint Center Definition
LSK
LLA
LLK
LMA
LMK
LKJC
Method 1:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 2:
Proximal End: 1 Lateral & 1 medial target
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 3:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target
Method 4:
Proximal End: 1 Lateral target & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target

## Slide 7: Joint Center Definition
LSK
LLA
LLK
LMA
LMK
LKJC
Method 1:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 2:
Proximal End: 1 Lateral & 1 medial target
Distal End: 1 Lateral & 1 medial target
Extra target to Define Orientation: None
Method 3:
Proximal End: 1 Joint center landmark & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target
Method 4:
Proximal End: 1 Lateral target & Radius
Distal End: 1 Lateral target & Radius
Extra target to Define Orientation: Lateral target

## Slide 8: Joint Center Definition: Prox: JC / Dist: Lat & Med
Proximal End:
1 Joint center landmark & Radius
Distal End:
1 Lateral & 1 medial target
Extra target to Define Orientation:
None
Notes: In this example, the proximal radius is defined, but it is not used to define the joint centers since the proximal end joint center is already defined.

## Slide 9: Joint Center Definition: Prox: JC / Dist: Lat & Med
LKJC
LLA
LMA
Distal Radius = X
[ ½ Distance (LMA,LLA) ]
Define anatomical plane
Define Joint Centers…

## Slide 10: Joint Center Definition: Prox: JC / Dist: Lat & Med
LKJC
LLA
LMA
Distal Radius = X
[ ½ Distance (LMA,LLA) ]
Define anatomical plane
Define Joint Centers…

## Slide 11: Joint Center Definition: Prox: JC / Dist: Lat & Med
LKJC
LLA
LMA
Distal Radius = RD
Calculated:
[ ½ Distance (LMA,LLA) ]
RD
Define anatomical plane
Define Joint Centers
RD

## Slide 12: Joint Center Definition: Prox: JC / Dist: Lat & Med
LAJC1
LKJC
LLA
LMA
Distal Radius = RD
Calculated:
[ ½ Distance (LMA,LLA) ]
RD
Define anatomical plane
Define Joint Centers
RD

## Slide 13: Joint Center Definition: Prox: JC / Dist: Lat & Med
LAJC1
LKJC
LLA
LMA
Distal Radius = RD
Calculated:
[ ½ Distance (LMA,LLA) ]
RD
Define anatomical plane
Define Joint Centers
RD
m

## Slide 14: Joint Center Definition: Prox: Lat & Med / Dist: Lat & Med
Proximal End:
1 Lateral & 1 medial target
Distal End:
1 Lateral & 1 medial target
Extra target to Define Orientation:
None

## Slide 15: Joint Center Definition: Prox: Lat & Med / Dist: Lat & Med
LLA
LMA
LLK
LMK
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]
Distal Radius = RD
Calculated:
[ ½ Distance (LMA,LLA) ]
Define anatomical plane
Define Joint Centers

## Slide 16: Joint Center Definition: Prox: Lat & Med / Dist: Lat & Med
LLA
LMA
LLK
LMK
A plane is defined by 3 points.
When 4 targets are used to define the plane, Visual3D uses a “Leastsquares Fit”.
The leastsquares fit is applied such that the sum of squares distance between the targets and the frontal plane is minimized.
Define anatomical plane
Define Joint Centers

## Slide 17: Joint Center Definition: Prox: Lat & Med / Dist: Lat & Med
LLA
LMA
LLK
LMK
RD
RP
Define anatomical plane
Define Joint Centers
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]
Distal Radius = RD
Calculated:
[ ½ Distance (LMA,LLA) ]
RP
RD

## Slide 18: Joint Center Definition: Prox: Lat & Med / Dist: Lat & Med
LLA
LMA
LLK
LMK
RD
RP
Define anatomical plane
Define Joint Centers
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]
Distal Radius = RD
Calculated:
[ ½ Distance (LMA,LLA) ]
RP
RD
LAJC2
LKJC2

## Slide 19: Joint Center Definition: Prox: Lat & Med / Dist: Lat & Med
LLA
LMA
LLK
LMK
RD
RP
Define anatomical plane
Define Joint Centers
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]
Distal Radius = RD
Calculated:
[ ½ Distance (LMA,LLA) ]
RP
RD
LAJC2
LKJC2
m

## Slide 20: Joint Center Definition: Prox: JC / Dist: Lat
Proximal End:
1 Joint center landmark & Radius
Distal End:
1 Lateral target & Radius
Extra target to Define Orientation:
Lateral target
Notes: In this example, the proximal radius is defined, but it is not used to define the joint centers since the proximal end joint center is already defined.

## Slide 21: Joint Center Definition: Prox: JC / Dist: Lat
LKJC
LLA
LSK
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]
Define anatomical plane
Define Joint Centers

## Slide 22: Joint Center Definition: Prox: JC / Dist: Lat
LSK
LKJC
LLA
Define anatomical plane
Define Joint Centers
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]

## Slide 23: Joint Center Definition: Prox: JC / Dist: Lat
RD
LKJC
LLA
LSK
Define anatomical plane
Define Joint Centers
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]

## Slide 24: Joint Center Definition: Prox: JC / Dist: Lat
LKJC
LLA
LSK
RD
Define anatomical plane
Define Joint Centers
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]

## Slide 25: Joint Center Definition: Prox: JC / Dist: Lat
LAJC3
LKJC
LLA
LSK
RD
Define anatomical plane
Define Joint Centers
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]

## Slide 26: Joint Center Definition: Prox: JC / Dist: Lat
LAJC3
LKJC
LLA
LSK
RD
Define anatomical plane
Define Joint Centers
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]
m

## Slide 27: Joint Center Definition: Prox: Lat / Dist: Lat
Proximal End:
1 Lateral target & Radius
Distal End:
1 Lateral target & Radius
Extra target to Define Orientation:
Lateral target

## Slide 28: Joint Center Definition: Prox: Lat / Dist: Lat
LLK
LLA
LSK
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]
Define anatomical plane
Define Joint Centers

## Slide 29: Joint Center Definition: Prox: Lat / Dist: Lat
LLK
LLA
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]
LSK
Define anatomical plane
Define Joint Centers

## Slide 30: Joint Center Definition: Prox: Lat / Dist: Lat
LLK
LLA
LSK
Define anatomical plane
Define Joint Centers
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]
RP
RD

## Slide 31: Joint Center Definition: Prox: Lat / Dist: Lat
LLK
LLA
LSK
Define anatomical plane
Define Joint Centers
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]
RP
RD

## Slide 32: Joint Center Definition: Prox: Lat / Dist: Lat
LAJC4
LKJC4
LLK
LLA
LSK
RP
RD
Define anatomical plane
Define Joint Centers
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]

## Slide 33: Joint Center Definition: Prox: Lat / Dist: Lat
LAJC4
LKJC4
LLK
LLA
LSK
RP
RD
Define anatomical plane
Define Joint Centers
Distal Radius = RD
Specified:
[ ½ Distance (LMA,LLA) ]
Proximal Radius = RP
Calculated:
[ ½ Distance (LMK,LLK) ]
m

## Slide 34: Joint Center Definition
Comparison of joint center locations

## Slide 35: Joint Center Definition: Comparison
LLA
LLK
LMA
LMK
LKJC
LAJC1
LAJC2
LAJC3
LAJC4
LKJC4
Note: These are just estimations of where the JCs will be defined
Using different targets to define the segment will produce slightly different results
LSK
LKJC2

## Slide 36: Segment Coordinate System
How are the joint centers used to define a coordinate system in Visual3D?

## Slide 37
Segment Coordinate System:
The targets used to define the segment coordinate system will effect the orientation of the segment coordinate system.
k ̂
ĵ
î

## Slide 38
Segment Coordinate System: Defined by …
Find the Inferior/Superior Axis, k ̂
  Find vector m from PJC to DJC
  Find unit vector of m
    k ̂ = (kx,ky,kz)
Find the A/P axis, ĵ
  Find vector v between the distal mediolateral targets
  Find unit vector of k ̂ x v
    ĵ = (jx,jy,jz)
Find the M/L axis, î
  Find unit vector of ĵ x k ̂
    î = (ix,iy,iz)

## Slide 39
Segment Coordinate System: Defined by …
PJC
DJC
m
Find the Inferior/Superior Axis, k ̂
  Find vector m from PJC to DJC
  Find unit vector of m
    k ̂ = (kx,ky,kz)
Find the A/P axis, ĵ
  Find vector v between the distal mediolateral targets
  Find unit vector of k ̂ x v
    ĵ = (jx,jy,jz)
Find the M/L axis, î
  Find unit vector of ĵ x k ̂
    î = (ix,iy,iz)

## Slide 40
Segment Coordinate System: Defined by …
PJC
DJC
m
k ̂
Find the Inferior/Superior Axis, k ̂
  Find vector m from PJC to DJC
  Find unit vector of m
    k ̂ = (kx,ky,kz)
Find the A/P axis, ĵ
  Find vector v between the distal mediolateral targets
  Find unit vector of k ̂ x v
    ĵ = (jx,jy,jz)
Find the M/L axis, î
  Find unit vector of ĵ x k ̂
    î = (ix,iy,iz)

## Slide 41
Segment Coordinate System: Defined by …
v
k ̂
Find the Inferior/Superior Axis, k ̂
  Find vector m from PJC to DJC
  Find unit vector of m
    k ̂ = (kx,ky,kz)
Find the A/P axis, ĵ
  Find vector v between the distal mediolateral targets
  Find unit vector of k ̂ x v
    ĵ = (jx,jy,jz)
Find the M/L axis, î
  Find unit vector of ĵ x k ̂
    î = (ix,iy,iz)

## Slide 42
Segment Coordinate System: Defined by …
v
k ̂
ĵ
Find the Inferior/Superior Axis, k ̂
  Find vector m from PJC to DJC
  Find unit vector of m
    k ̂ = (kx,ky,kz)
Find the A/P axis, ĵ
  Find vector v between the distal mediolateral targets
  Find unit vector of k ̂ x v
    ĵ = (jx,jy,jz)
Find the M/L axis, î
  Find unit vector of ĵ x k ̂
    î = (ix,iy,iz)

## Slide 43
Segment Coordinate System: Defined by …
k ̂
ĵ
Find the Inferior/Superior Axis, k ̂
  Find vector m from PJC to DJC
  Find unit vector of m
    k ̂ = (kx,ky,kz)
Find the A/P axis, ĵ
  Find vector v between the distal mediolateral targets
  Find unit vector of k ̂ x v
    ĵ = (jx,jy,jz)
Find the M/L axis, î
  ĵ x k ̂
    î = (ix,iy,iz)

## Slide 44
Segment Coordinate System: Defined by …
Find the Inferior/Superior Axis, k ̂
  Find vector m from PJC to DJC
  Find unit vector of m
    k ̂ = (kx,ky,kz)
Find the A/P axis, ĵ
  Find vector v between the distal mediolateral targets
  Find unit vector of k ̂ x v
    ĵ = (jx,jy,jz)
Find the M/L axis, î
  ĵ x k ̂
    î = (ix,iy,iz)
k ̂
ĵ
î

## Slide 45: Segment Coordinate System
How is a segment defined in Visual3D?

## Slide 46
Anatomical Targets
Anatomical Targets
Tracking Targets
Segment Coordinate System: V3D Segment Definition

## Slide 47
Proximal Endpoint
Distal Endpoint
Proximal
Radius
Segment Coordinate System: V3D Segment Definition

## Slide 48
SCS Y - Axis
SCS Z - Axis
SCS X - Axis
Segment Coordinate System: V3D Segment Definition

## Slide 49: Segment Coordinate System
Why do I care about the alignment of the segment coordinate system?
Visual3D YouTube Tutorial: Segment Definition